Gas Study II.

This home as shown in the photo above, was built in 1995.  The home measures 4700 sq. ft. on three floors.  The home is serviced by natural gas and has a three damper forced air furnace servicing all three floors of the home.  Each floor is thermostatically controlled at 72°F degrees.

This home has a Reddi-Wall walkout basement with one inch of foam insulation under the basement floor.  The first and second floor walls are R-13.  The ceiling on the second floor contains R-19 blown-in insulation.

The following energy audit was received on February 28, 1998.  It has been formatted according to the Consumers Energy Statement. The customer's name and name or address were omitted. If you would like to get a copy of the original, please call or write Reddi-Wall.

Southwestern Michigan Gas Company

Meter 133867

This Year; Last Year. Date; Cons; Gas Amt; TP; Days; RDate; Cons; Gas Amt; TP; Days. 02/10/98; 234; 123.98; 1; 29; 02/10/97; 288; 148.24; 1; 31. 01/12/98; 219; 116.51; 1; 34; 01/10/97; 224; 116.74; 1; 32. 12/09/97; 200; 107.03; 1; 33; 12/09/96; 202; 105.91; 3; 33. 11/06/97; 99; 49.91; 1; 29; 11/06/96; 118; 64.58; 3; 29. 10/08/97; 34; 21.26; 1; 29; 10/08/96; 57; 34.55; 1; 29. 09/09/97; 34; 21.26; 1; 32; 09/05/96; 35; 23.72; 1; 32. 08/08/97; 30; 19.52; 1; 29; 08/06/96; 31; 21.76; 1; 29. 07/10/97; 36; 22.12; 1; 30; 07/08/96; 42; 24.33; 1; 33. 06/10/97; 67; 34.69; 1; 32; 06/05/96; 64; 33.66; 1; 30. 05/09/97; 101; 48.99; 1; 29; 05/06/96; 120; 57.43; 1; 29. 04/10/97; 173; 79.28; 3; 30; 04/04/96; 221; 95.89; 1; 32. 03/11/97; 216; 112.81; 1; 29; 03/06/96; 258; 110.95; 1; 29. % Chg Cons = 7; LY = 19-; Degrees Days TY = 1111; LY = 1174.

SouthWestern Michigan Gas Company's estimated monthly gas usage was $165.90 in 1995.

|  |  | This Year |  | Last Year |
| --- | --- | --- | --- | --- |
| Annual Total: |  | 757.36 |  | 837.76 |
| Monthly Average: |  | 63.11 |  | 69.81 |
| Hot Water/Cooking Gas: |  | -21.04 |  | -23.27 |
| Heating Cost: |  | 42.07 |  | 46.54 |
| Annual Savings: |  | 1233.48 |  | 1153.08 |
| Cost per sq. ft. = $ 0.17 |  |  |  |  |