House Study

These are the results of a one year heat study of two identical homes in Sisson park Subdivision in Romeo, Michigan.  The only difference between the two homes is the basement.  One was built using the Reddi-Wall foam insulated wall system, while the other was built with conventional poured concrete walls.

|  | Reddi-Wall Basement | Un-Insulated Poured Wall Basement |
| --- | --- | --- |
| Address | 5376 Brook (left picture) | 333 Mea (right picture) |
| Builder | Peak Builders | Peak Builders |
| Year Built | 1994 | 1993 |
| Sq. Feet of House | 1450 | 1450 |
| Basement Height | 9 Feet | 7 Feet, 8 Inches |
| Living Quarters Temp | 76ºF | 70ºF |
| Kitchen Floor Temp | 78ºF | 57ºF |
| Basement Temp | 78ºF | 57ºF |
| House Plan | Same | Same |
| Basement Floor Insulation | None | None |
| Area of Basement Windows | 30 Sq. Ft. | 6 Sq. Ft. |
| Furnace Forced Air | Gas | Gas |
| Hot Water | Gas | Gas |
| Dryer | Gas | Gas |
| Stove | Gas | Electric |
| Number of Residents | 2 | 2 |
| Heating Bill (9/94 - 9/95) | $401 | $728 |
| Heat Reduction | 45% | 0% |
| Home Owner Comments | "We like to keep our home warm. We are old and ill and we feel better warm. We like the basement a lot, using it for our hobby work and family gatherings. It is very warm and dry" | "Our basement is always cold and damp. It also has a musty smell to it. I hate to do my wash down there. |

Note!  If one were to adjust for the difference in temperature inside the home, the reduction in heat would bring the annual heat bill down to $329 or a 65% reduction in costs from the uninsulated poured wall basement.