Reddi-Wall Questions & Answers

What is Reddi-Wall?

It is a polystyrene foam block, similar in appearance to a cinder block, used for construction of residential, commercial and industrial buildings.

Is Reddi-Wall as strong as a cement block or a poured wall?

With the truss type construction and rebar it is many times stronger than block or non-reinforced poured wall systems.

What material can be used to finish the exterior surface of a Reddi-Wall System?

Any surface treatment that is put on a conventional home can be placed on the exterior of the Reddi-Wall building.

What is the R value of Reddi-Wall?

The calculated R value of the wall empty is R 26. In actual infrared tests, the wall assembly tested in excess of R 70. The average R value of and ICF wall is R 50 as tests have proven by a certified company.

What kind of performance record does Reddi-Wall have?

There are over 11,000,000 homes in Europe that are over 25 years old. In Michigan there are over 5,000 structures with the Reddi-Wall system. There has never been a problem with the structure or water leakage.

How does using Reddi-Wall effect heating bills?

When used for basements only, heating bills are reduced by 50% or more.

How are cooling bills affected when a basement is made with ICF? Doesn’t the basement cool the house?

In an actual test it was found that the air conditioning bills are much lower in an ICF home. In a conventional home the part of the basement above grade is only R1. This lets in a lot of heat.

Are there any smells associated with the foam block?

No, it is odorless.

Is there any off gassing from the foam?

There is no off gassing. The foam has been given a food clearance.

Is the smoke toxic if a fire should occur?

Byproducts of the combustion are CO2, CO and H2O, which suffocates, but the concentration of CO is considerably less than that given off during the combustion of an equal volume of wood and other commonly used building materials. ICF is not nearly as toxic as burning carpet or a sofa.

What is the temperature at which polypropylene melts?

The melting temperature is at 374 – 500° F. Some wood and most cloth material will spontaneously burn at that temperature.

At what temperature will Reddi-Wall block flash into flames?

At 800° F. The block has a 2 hour fire rating, flame spread of 15 and smoke developed at 125 rating.

What is the life expectancy of Reddi-Wall blocks?

The EPA has given polystyrene a life of 10,000 years per inch. Reddi-Wall block won’t lose any insulation value. It will get a yellow oxidation at no more than .001 thick.

Will insects eat or penetrate the foam block?

There has never been a case of this happening. In test with termites and ants, the insects died without having eaten the foam block or escaping. The block contains boric acid crystals that attack the nervous system in insects. The boric acid also works as an excellent fire-extinguishing agent.

How is wood, aluminum or vinyl siding attached?

Vertical reinforcement track attachment strips are in the block. Attach siding with stainless steel drywall or deck screws.

How is drywall attached?

Metal V tracks are installed in the block. Foam glue is applied to the back of the drywall and put in place. Drywall screws are fastened into the drywall and may be later removed when the foam glue is dry.

How is the electrical wiring installed?

There are two methods. Greenfield or conduit is installed in the wall. The other method is a ¼” groove can be cut in with a router. The wire is then installed and the groove foamed shut.

Can you ever install a door or window later?

Yes. A concrete saw can be used to cut in a door or window.

Can you use Reddi-Wall block for an addition?

Yes. You can add it to any type or structure.

How high can you build up?

Heights of 20 feet or more require some engineering. With proper engineering you could go up to 100 feet.

How much weight can you place on top of a wall 9 feet high?

It will hold up to 136,000 pounds every 10 inches or every square foot.

How much weight can be placed on the brick ledge?

Based on a 9 foot wall, the brick ledge will carry an excess of 12 ½ tons per lineal foot.

Can you build basement walls 12 feet high?

Yes. We have some basements 16 feet high. It takes special engineering and is not difficult.

How much does Reddi-Wall block reduce noise?

It has been measured at 52 DB. The best head set for ear protection has a level of 26 DB.

How much winds can a Reddi-Wall resist?

A 100 mph wind produces a 45-pound per square foot pressure. The wall has been tested to 2800 plus pounds.

What happens to the air quality in an ICF home?

In homes with the basement and above grade walls constructed with foam block, the fungus level is equal to the outside air entering the home. The bacteria level is undetectable. An average six-month-old home with a concrete basement has a bacteria level of 288 parts per cubic meter.

How does bacteria grow in a home with a cement basement?

Where heat meets cold, moister condenses. This makes a basement wall damp, which along with a high ph, porosity and temperature cause conditions favorable to grow bacteria.

Why won’t bacteria grow in an ICF home?

The place where heat meets cold is outside the basement so there is no moisture generation. Foam reflects 99 + % of the heat waves that hit it. This creates a very active molecular surface and bacteria die from molecular bombardment. Reddi-Wall foam block are also penetrated with boric acid that prevents mold from growing and also serves as a flame retardant.

What about an airtight home? If there are few air leaks will the air get polluted?

There is strong evidence that the outside air is often more polluted than the inside air. Air that is inside an ICF home is much cleaner than when it entered the home. We recommend that the furnace and hot water heater be supplied with outside air. If fresh air is desired, an air exchanger is recommended.

What type of heating unit is suggested to heat these homes?

Any conventional heat system works fine. The size of the unit can be reduced to ½ the normally recommended size. Hot water circulated through the basement floor works well.

What is the size of the Reddi-Wall block?

The block is 5 feet in length, 12 inches in height and 10 inches thick. See our product profile brochure.

What mix is used for concrete?

We use 3000 pound PSI concrete made from 70% sand and 30% stone. We use stone that is ½ inch or smaller. A 2% fly ash is added for flow ability and water resistance.

How wide are the window jams?

The window jams can be set as desired.

What type of window is recommended?

Replacement windows are suggested or you can use almost any type of window.

What is the cost of a Reddi-Wall compared to a poured wall basement?

The base price of a Reddi-Wall basement is 10-15% higher than a poured wall. When the cost of insulation, steel reinforcement and basement finishing is calculated, Reddi-Wall is about 30% less overall.

How does the cost compare to block basements?

The cost of a Reddi-Wall foam block basement is usually less.

Does the insulation value change in a Reddi-Wall basement?

It has and R 26 value on the foam block alone. After the foam blocks are filled with concrete, it has a minimum of R 50 and will not loose any insulation value. A poured wall has an R 0.8 rating. A 2-inch sheet of foam insulation has an R 10 rating. The problem is that a poured wall must be reinforced with steel or it will crack from the frost push even is properly waterproofed. If the foam sheet gets wet from ground water, heat is lost and the foam will have an R 1 and provide for very little insulation.

Why do conventional basements loose heat through the floor?

The rate of heat transfer between damp soils is obtained by taking the room temperature, minus the soil temperature, multiplied by .66 BTU. The loss through the floor is usually 10-15 BTU/hour/square foot. Wall loses go up to 50 BTU/square foot/hour.

What id recommended for under the floor?

Heating the floor is recommended. Use a drainage mat with plastic over the mat. Then add 1½ inch of foam, 6 x 6 wires, heat pipes and cover with 4 inches of concrete.

What does it mean by “we pay to heat mass”?

It takes 1 BTU to heat 1 pound of anything 1 degree in 1 hour. Concrete is very heavy and it takes 135 BTU per square foot to heat 1 pound of concrete 1 degree. You can heat 1000 square feet of air 1 degree with 1 BTU. Foam reflects the heat and is very light. Foam does not absorb heat.

Why doesn’t the soil within 3 feet of the average home freeze?

The soil near homes with poured walls does not freeze because the heat escapes from the inside of the house and heats the soils.

© Reddi-Wall 2006